# PROJECT PHOENIX

# Integrated concept design report

Architecture, structure, fire, parking and phasing

# Uitbreiding moskee Haci Bayram

Bikkersweg 88, Bunschoten

Issue: 2026-07-27

CONCEPT - NOT FOR SUBMISSION OR EXECUTION

This document records actual generated concept output. It is not a qualified professional statement and is not approved for permit submission or construction.

# 1. Executive summary

Project Phoenix generated a coordinated concept issue for a 7 x 10 m, two-storey extension with 140 m2 gross floor area.

The issue contains 10 actual vector drawing sheets and six written reports. REQ-107 is closed by the project leader. Six professional evidence requests remain open.

# 2. Project basis

Location: Bikkersweg 88, Bunschoten.

Regular future occupancy: 150 persons; Friday future occupancy: 125 persons; special peak: 200 persons.

Parking basis: 225 project-leader-confirmed public spaces, field verification pending.

# 3. Drawing issue

The generated drawing set is a coordinated concept issue with title blocks, scales, dimensions, room names, levels, assumptions and status markings.

| ## Field 1 | ## Field 2 | ## Field 3 |
| --- | --- | --- |
| A-001 | Situation and parking concept | 1:250 |
| A-101 | Ground-floor plan | 1:50 |
| A-102 | First-floor plan | 1:50 |
| A-201 | Elevations | 1:100 |
| A-301 | Sections | 1:100 |
| A-401 | Roof plan and drainage concept | 1:50 |
| S-101 | Foundation concept | 1:50 |
| S-201 | Structural scheme and load path | 1:75 |
| F-101 | Fire and escape route concept | 1:50 |
| X-101 | Construction phasing concept | NTS |

# 4. Design coordination

Ground- and first-floor gross areas are each 70 m2. The architectural grids, structural concept, escape routes, foundation assumptions, parking basis and phased construction data are cross-checked through the production gate.

# 5. Limitations

All geometry is a generated concept based on a 7 x 10 m two-storey extension and must be reconciled with a current survey and cadastral control.

Structural, geotechnical, fire-safety, ventilation, parking and AERIUS conclusions require validation and signature by the responsible professionals.

The issue is suitable for pilot validation and professional evidence replacement only.

No document in this issue may be used for permit submission or construction.

# 6. Release status

Concept issue package: ready. Final permit-ready generation: blocked. BB36 production release: locked.