# PROJECT PHOENIX

# Bbl, fire safety and ventilation concept report

Occupancy, escape route and ventilation design basis

# Uitbreiding moskee Haci Bayram

Bikkersweg 88, Bunschoten

Issue: 2026-07-27

CONCEPT - NOT FOR SUBMISSION OR EXECUTION

This document records actual generated concept output. It is not a qualified professional statement and is not approved for permit submission or construction.

# 1. Occupancy basis

The review basis uses 150 regular future occupants, 125 Friday occupants and 200 persons for the annual special peak.

# 2. Escape concept

The concept drawing shows 2 independent exits, each 1.20 m wide, for a total simulated width of 2.40 m.

| ## Field 1 | ## Field 2 |
| --- | --- |
| Exit count | 2 |
| Width per exit | 1.20 m |
| Total width | 2.40 m |
| Compliance conclusion | NOT_MADE_IN_CONCEPT_PRODUCTION |

# 3. Ventilation concept

Ventilation is to be sized from verified room functions, occupancy profiles and Bbl requirements. The current issue records the spatial basis only and does not state compliance.

# 4. Required evidence

Signed fire-safety and evacuation assessment.

Verified travel distances, compartmentation and resistance requirements.

Ventilation calculations and installation design.

Accessibility and sanitary review.