# PROJECT PHOENIX

# Technical Specification

Concept technical specification for permit/tender/execution preparation

# Moskee Haci Bayram - BB35 Pilot 1

Bikkersweg 88, Bunschoten

Issue: 2026-07-27

CONCEPT - NOT FOR SUBMISSION OR EXECUTION

This document records actual generated concept output. It is not a qualified professional statement and is not approved for permit submission or construction.

# 1. General requirements

TECHNICAL CONCEPT - NOT FOR PERMIT SUBMISSION OR EXECUTION

All work shall be coordinated with the central model, drawing set, schedules and calculation workbook. Deviations require a recorded revision.

# 2. Existing conditions

Existing dimensions, materials and structural conditions shall be field verified before procurement or construction.

# 3. Component assemblies

The following concept assemblies define the coordinated technical basis.

| ## ID | ## Component | ## Thickness | ## Status |
| --- | --- | --- | --- |
| EXT-W01 | External wall | 350 | CONCEPT |
| INT-W01 | Internal partition | 125 | CONCEPT |
| FLO-G01 | Ground floor | 420 | CONCEPT |
| FLO-101 | First floor | 350 | CONCEPT |
| ROF-001 | Flat roof | 420 | CONCEPT |
| WIN-001 | Window system | 90 | CONCEPT |
| DOR-001 | External door | 70 | CONCEPT |
| DOR-002 | Fire-resisting door | 54 | CONCEPT |
| STA-001 | Stair | 180 | CONCEPT |
| FND-001 | Perimeter strip foundation | 400 | SIMULATION_ONLY |
| FND-002 | Foundation beam | 600 | SIMULATION_ONLY |
| JNT-001 | New-existing movement joint | 40 | CONCEPT |
| DRN-001 | Roof outlet | 0 | CONCEPT |
| FIN-001 | Prayer room floor finish | 20 | CONCEPT |
| FIN-002 | Wet room floor finish | 45 | CONCEPT |
| CLG-001 | Acoustic ceiling | 180 | CONCEPT |

# 4. Workmanship and interfaces

New-to-existing joints, fire stopping, waterproofing, air sealing, acoustic continuity and service penetrations require coordinated shop details and specialist approval.

# 5. Testing and handover

Testing, inspection, commissioning, as-built records and operation/maintenance information shall be specified at final issue.

# 6. Exclusions

Professional evidence and final authority acceptance are excluded from revision C02.