# PROJECT PHOENIX

# Structural and foundation concept report

Load path, structural grid and synthetic foundation basis

# Uitbreiding moskee Haci Bayram

Bikkersweg 88, Bunschoten

Issue: 2026-07-27

CONCEPT - NOT FOR SUBMISSION OR EXECUTION

This document records actual generated concept output. It is not a qualified professional statement and is not approved for permit submission or construction.

# 1. Structural scheme

A regular three-by-three column grid is used as a conceptual load path. Beams transfer floor and roof loads to columns and the foundation system. Final materials and member sizes are not selected in this concept issue.

# 2. Foundation concept

The simulated foundation uses a continuous 1.50 m wide and 0.40 m high strip with a 0.50 x 0.60 m beam. Groundwater is assumed at P=-0.50 m.

| ## Field 1 | ## Field 2 | ## Field 3 |
| --- | --- | --- |
| Layer 1 | 0.0 to -0.8 m | synthetic sand fill |
| Layer 2 | -0.8 to -2.5 m | synthetic soft clay |
| Layer 3 | -2.5 to -8.0 m | synthetic medium-dense sand |

# 3. Risks

Settlement and differential movement at the new-to-existing connection require explicit assessment. Soil profile, bearing resistance, stiffness, reinforcement and detailing are not professional conclusions.

# 4. Required evidence

Current structural survey and connection assessment (REQ-103).

Ground investigation and signed foundation advice (REQ-104).